## Slide 1
Donnell Charles
Sr. Manager Proficiency Testing Programs
Patricia Atkins
Senior Applications Scientist
Lauren Stainback
Global Product Manager
Understanding Proficiency Testing

## Slide 2
Samples
Unknown
Known
Unknown
Known
Sample Types
PT, QC
Standards
CRMs
QMS

## Slide 3
Quality objectives & manual
Organizational Structure & responsibilities
Data Management
Processes
Improvements and Corrective Actions
Document Control
Quality Assurance & Control
QC, CRM, PT
Proficiency Tests
Standards, CRMs
Quality Management Systems
QMS

## Slide 4
QMS & Analyses
QMS
YOUR TITLE 01
Documents
Organization
Data
YOUR TITLE 05
ISO, GMP, GLP
Performance &
Functioning of
Methods, Systems
& Analysts
Method
Verification &
Validation
Data Processing

## Slide 5: Proficiency Test Item vs. Reference Standards
Proficiency Test Item
To evaluate
Laboratory Performance
Reference Standard
To implement quality control in
Analytical Processes
Notes: Comparison of Materials Items vs. Standards
Explaining how PT different form RS – + Recommend ---- RS are used in the testing process and PT items are not.
RS are used determine quality parameters of a sample PT items are uses to determine the level of analyst and by adjacency laboratory operation performance.

## Slide 6
ISO
Administered through certifying bodies with
millions of members
ISO 9001
General requirements for a quality management system
ISO 17025
General Requirements for the competence of testing and calibration laboratories
Meets Customer
Needs
Meets Statues
& Requirements
  Technically Valid Results
Ensures results equivalent among international testing bodies
ISO 17043
Conformity Assessment
General requirements for Proficiency Testing
Technical
Competency
Technically
Valid Results
International Organization of Standardization (ISO)
  Technical Competency
Harmonization of international standards & procedures
Allows the transfer of results between laboratories, calibration & validation
Ensures technical competency of laboratories, analysts & methods
ISO 17034
General requirements for the competence of reference material producers
  Demonstrate scientific and technical competence
  Supply required information about CRM materials

## Slide 7
Metrological Standards
Working Standards
Secondary Standards
Primary Standards
Ultimate Known
Metrological Agency
Reference Materials Providers
Spex, NSI
Compared to Secondary
In-house
The ‘Known’ or Key to Unlock Analysis

## Slide 8: What are Standards, RM, CRM or Certified Standards?
Standard or Reference Material
?
Certified
Standard or Reference Material
?
‘ISO’
Certified
Standard or Reference Material

## Slide 9
Laboratories
Functioning of PT
Results

## Slide 10
Proficiency Testing is the evaluation of participant performance (competency) against pre-established criteria* by means of interlaboratory comparisons using a specified test material and method (scheme or study)
A scheme or study is the combination of test item and method evaluated at a specified time.
What is Proficiency Testing?
(*defined in ISO/IEC 17043:2010 clause 3.7)
Notes: §211.25 Personnel qualifications.
(a) Each person engaged in the manufacture, processing, packing, or holding of a drug product shall have education, training, and experience, or any combination thereof, to enable that person to perform the assigned functions. Training shall be in the particular operations that the employee performs and in current good manufacturing practice (including the current good manufacturing practice regulations in this chapter and written procedures required by these regulations) as they relate to the employee's functions. Training in current good manufacturing practice shall be conducted by qualified individuals on a continuing basis and with sufficient frequency to assure that employees remain familiar with CGMP requirements applicable to them.
(b) Each person responsible for supervising the manufacture, processing, packing, or holding of a drug product shall have the education, training, and experience, or any combination thereof, to perform assigned functions in such a manner as to provide assurance that the drug product has the safety, identity, strength, quality, and purity that it purports or is represented to possess.
(c) There shall be an adequate number of qualified personnel to perform and supervise the manufacture, processing, packing, or holding of each drug product
3.1: What is the intent of the statement in ICH Q7, paragraph 3.12 “training should be periodically assessed”? In ICH Q7, paragraph 3.12, the statement “training should be periodically assessed” refers to a system to evaluate if personnel remain proficient and competent in their job tasks and responsibilities, whether more frequent, additional, or new training is needed, and if recurring training is up to date.

## Slide 11
A measure of the performance (ability):
  of two or more participants
  to provide accurate and precise
  [Results]
  on the same or similar
  [Test Material]
  in accordance with pre-determined
  [Analytical Method]
What is Proficiency Testing?
Scheme
Notes: Measurements of Proficiency and analyst competency

## Slide 12
Manage risk through early warning of problems
Fulfill Accreditation requirements
Demonstrate competency to 3rd parties and regulatory bodies
Independent Evaluation
Compare results with laboratories around the world
Educate and train staff
Identify problems and areas of improvement
Ensure customer confidence in laboratory results
Laboratory Benefits of PT
Notes: Why laboratories should perform PT

## Slide 13
Methodology
Morphology
Suitability
Hazardous
Non-Toxic
Non-Lethal
Physical Properties
Organism
Homogeneity
Stability
For safety purposes, The PT Program provides participants with materials that are stable with minimal volatility and toxicity to prevent mishandling.
Robust materials that are suitable, having identifiable chemical structure, genus or species, and safe are provided to the participants within schemes which meet the requirements for being "Fit for Use or Purpose".
Methodology identifying during study development which is based on compendial or internationally recognized validated methods.
KEY
Stability
Organism
Physical Properties
Homogeneity
Material Selection Criteria
Notes: Describes the process for material selection for schemes. Answers the question how the program selected material and schemes.
Which analytical test does the analyst need to proficiency?
What material or analyte is suitable,

## Slide 14
Commercial Labs
Serves as 3rd party contracting testing laboratory.
OMCLs
(Official Medicines Control Laboratories) government laboratories that provide medicines testing for the purchase, approval, registration, PMS studies, and regulatory enforcement support within developing countries.
OMCLs include both pharmaceutical and clinical testing laboratories.
GMP Manufacturers Internal Laboratories
Primary manufacturers of API and FP in addition to products in other areas.
The GMP manufacturers have internal testing laboratories to ensure the manufacturing process, quality and safety is confirmed.
Supports the testing of medicines delivery in human and non-human samples within clinical, hospitals, and private medical facilities.
The CROs have internal testing laboratories to ensure the product identification and delivery results are confirmed.
Clinical Research
Organizations
Food and Cosmetic Organizations
Support the food and cosmetics microbiology testing of non-human samples within food and cosmetic facilities.
Contract Drug
Mfg Organizations
Serves as 3rd party manufacturer facilities that support API and FP production in multiple areas such as pharmaceutical / biopharmaceutical, microbiology, food and beverage , etc.
The CMO’s have internal testing laboratories to ensure the manufacturing process is verified.
Proficiency Testing Laboratory Market
Notes: Who are the focus? Laboratories that are required to PT on the methodologies of the schemes. Have internal training programs that use PT but are not accredited or who have had documented issues related to training and method implementation.
All laboratories are testing laboratories -Serves testing facilities that support sample testing in multiple areas such as pharmaceutical / biopharmaceutical, microbiology, food and beverage , cosmetics, forensic, environmental, animal feed, Schedule 1 products, veterinary, etc.

## Slide 15: USP PT Program Customer Benefits
Underpinned by best-in-class scientific expertise
Expert and highly responsive technical support
In-house manufacturing by established provider
Leverages trusted USP methods*
*USP methods are often referenced by several PT competitors
Notes: Four main points of why customers should purchase PT.
Immediate accessibility to customer Support
Manufactured by people who understand
Designed based on technical design of bulk materials
Trusted Guidance for Product selection
Not a chemical provider, an accredited PT provider
customer benefit Specific to USP
  Studies use General Chapters and Monographs as direct source
  USP experiences with RS is used to determine study selection
  USP has been an independent third party for 200 years
  USP is a documentary standards producer that supports testing labs
Competitors are currently using USP to reference the selling of their product
USP value diagram and indicate linkages to. How the PT program links to the other products and services

## Slide 16
K2M244
Acetaminophen tablets
Acetaminophen capsules
Identification
Assay
Performance test
Impurities
<621>
<857>
<711>
<905>
Reference Standard
PRODUCT
TESTS IN MONOGRAPH
GENERAL CHAPTERS
TECHNIQUE
INSTRUMENTATION
Analytical Method
Analytical
Instruments
Analyst Performance
Analytical QC Processes
PT SCHEME
Internal Control
Instrument Calibration
pH
LOD
HPLC
UV
Dissolution
Karl Fischer
PT Correlation w/ General Chapters
Notes: Purpose: to instruct SCD on which PT schemes they can promote/suggest to the customer based on their current purchasing history with USP, by illustrating how schemes are connected to general chapters and by default reference standards. Answering the question, which schemes should be promoted to a customer? How does SCD know if a custom needs a specific scheme?
To illustrate the relationship, we use K2M244, Acetaminophen a commonly purchased reference standard. {shown in the bottom row of slide) If a customer purchases K2M244, we can safely assume they are testing an API or finish product that contains acetaminophen such as acetaminophen tablets or capsules. (Shown under product). In testing these products in accordance with the monograph, they would need to obtain results for identification, Assay, etc. (listed under Test in Monograph), the general chapters associated with these tests are listed under (technique Instrumentation). From there you can recommend which scheme is needed. Additionally, a laboratory may be accredited for the complimentary techniques required for another, say for instance HPLC. In order to perform a HPLC assay, the customer has to be competent in the performance of pH determination for mobile phase preparation, LOD for drying of standards, and determination of water concentration by Karl Fisher for back calculation. All schemes available within the PT program list of schemes. AGREE
Top row summary: analyst must prove that they are competent to perform testing. This competency includes an understanding of the analytical method and usage of the instrumentation to obtain accurate and reliable results.
Middle section: further details and gives examples for elements needed to obtain accurate and reliable results using standard methodology, with USP as the reference method.
Bottom row summary: example of reference standard and its usages

## Slide 17
USP PT Schemes
Over 70 Schemes based on USP Chapters

## Slide 18
Customer
1
2
3
4
Electronic data (results)
Physical Sample
Report
Order Scheme
Direct Ordering- Process Overview
Notes: This slide represents an overview of the PT process from the customer’s point of view.
The customer orders Proficiency Testing Schemes(studies) online from NSI website.
the program (NSI) ships items to customer along with associated documentation
Customer tests (analyzes) material and enters results into the USP PT Portal using predefined format
NSI analyzes results and provides customer with report

## Slide 19
Ready to Start?
Plan
Fit for Purpose
Policies
Prepare
Maintenance
Delivery Schedule
Execute
Calibrations
Checks & Calculations

## Slide 20
Plan

## Slide 21
Prepare

## Slide 22
Execute

## Slide 23
https://pharmapt.nsilabsolutions.com/dlSelectStudyView.do
PT Portal
Notes: Login after payment is made
https://pharmapt.nsilabsolutions.com/dlSelectStudyView.do

## Slide 24
https://pharmapt.nsilabsolutions.com/dlSelectStudyView.do
PT Portal
Notes: Login after payment is made
https://pharmapt.nsilabsolutions.com/dlSelectStudyView.do

## Slide 25
Enter-Participant Information
Select- Continue
Select- Locate Study
Performance Evaluation Reporting

## Slide 26
Performance Evaluation Reporting

## Slide 27
Select- Enter Required Information
Select- Update Sample for Submission
Select- Finished Entering Result ( Repeat Process for each study)
Receive- Submission notification via email
Completion- LOG-OUT
Performance Evaluation Reporting

## Slide 28
Sample Results Report
Notes: Displays- Report information, Round, closing dates, Report printing

## Slide 29: Sample Results Report- Continued
Notes: Displays: Analyte, Method, Z-score, P/F and Participants name
Quantitative Report

## Slide 30
Non-conforming Results?
Sample storage and handling
Calibration, Dilutions
Dynamic Range
Sample = PT
Prep?
Process changes?
Standards & Controls
Calculations & Units

## Slide 31
Dilutions

## Slide 32
Concentration, Conversions & Units

## Slide 33
Infographics

## Slide 34
White Papers & Publications: In Print Soon

## Slide 35
PT Testing Program

## Slide 36
Education

## Slide 37
Links for More Information
https://www.usp.org/proficiency-testing/external-faqs
Study Portal
Help with Standards
www.spex.com
FAQ

## Slide 38
Thank You
Questions?